## Pump House
Preliminaries And General Conditions
Management Consultants Fees
Submission letter to Authorities for water reticulation Obtain of Approval letter From PBAPP | LS | 1 | 9799.29
Approval on Testing & commisioning of PBAPP | LS | 1 | 4899.65
0
To provide the following insurances which shall include contract + defect liability | LS | 1 | 4899.65
Third party/ Public liability
Insurance of works
Workmen's Compensation
Provision of Performance Bond | LS | 1 | 0

## Pump House (2)
Preliminaries And General Conditions
Management Consultants Fees
Submission letter to Authorities for water reticulation Obtain of Approval letter From PBAPP | LS | 1 | 9799.29 | 9799.29
Approval on Testing & commisioning of PBAPP | LS | 1 | 4899.65 | 4899.65
0
To provide the following insurances which shall include contract + defect liability | LS | 1 | 4899.65 | 4899.65
Third party/ Public liability
Insurance of works
Workmen's Compensation
Provision of Performance Bond | LS | 1 | 0 | 0
Pumps, Electrical and Mechanical Installations
To supply, install, test and commission the following mechanical plant and equipment including pumps, motors switchboard, starter, cables to switchboard at site Pumping Station |  |  |  | 0
To Supply GRUNDFOS Booster In-Line pump Model: SP 60-7 c/w 17.5 hp motor (1 duty & 1 Standby) | Unit | 2 | 24498.23 | 48996.46
To supply Great High Pressure Booster modules for Installation of Model: SP 60-7 c/w hp motor ( 1 duty & 1 Standby) | Unit | 2 | 29397.87 | 58795.74
To supply 2x 15kw Great Green Variable Speed Control Panel c/w AJT System | Set | 1 | 39197.17 | 39197.17
Motor point and Control Wiring | Lot | 1 | 2939.79 | 2939.79
To supply & install presure transmitter to inverter for VSD purpose according to specifications. | Unit | 1 | 1469.89 | 1469.89
Pressure transmitter for discharge pressure monitoring | No. | 1 | 489.96 | 489.96
Dry-run protection wiring c/w stainless steel rod and holder | Lot | 1 | 4899.65 | 4899.65
Concrete Plinth for supporting on piping ( 11 nos of Plinth 300mm x 300mm x 800mm (h) ) | Lot | 1 | 3919.72 | 3919.72
To supply and install DN 200 MS flange adapter | NOs | 4 | 1469.89 | 5879.56
To supply and install DN 200 gate valve include flanges, bolt and nuts for pump suction & discharge pipe. | Nos | 6 | 2743.8 | 16462.8
Pumps, Electrical and Mechanical Installations (Cont'd)
To supply and install 4" dia pressure gauge range; 0-15psi c/w o'syphon and ball valve for pump suction & delivery pipe | Nos | 4 | 195.99 | 783.96
To supply and install DN 200 wafer check valve flanges bolt and nuts for pump discharge pipe. | Lot | 3 | 1763.87 | 5291.61
To supply & install, 1 lot of M.S pipe Suction & Discharge manifold DN 200 with all necessary joint fittings, such as elbows, reducer, tee, joint, flanges,bolt & nuts. Connect to existing pipe | Lot | 1 | 34297.55 | 34297.55
To supply & install, DN 150 Magnetic Flow meter Euromax Msgnetic Sensor (6" Size) - Euromax display unit | No. | 1 | 14698.94 | 14698.94
To supply only DN 50 (2") 'Watt' Surge Valve, reduce bore with sluive valve, fittings such as flange, Bolt & nuts. c/w sensing line. | Lot | 1 | 7839.43 | 7839.43
To supply and install 1 no 100 litres pressure tank. Non JKKP approve | Lot | 1 | 2939.79 | 2939.79
XILOG Data Logger | Lot | 1 | 5879.57 | 5879.57
Electrical Section
To supply & lay motor power cable within the pump chamber to electrical panel with juction box | LS | 1 | 3429.75 | 3429.75
1 lot of motor point, pressure sensor flow switch wiring with the pump chamber | LS | 1 | 2449.82 | 2449.82
To supply and install 5 sets of compound lighting & 2 nos of exhause fan c/w termostat control | LS | 1 | 5879.57 | 5879.57
To supply & installation of 1 no. 0.55kw submersible pump at chamber area including piping wiring | LS | 1 | 1469.89 | 1469.89
Testing & Commissioning
Allow for testing and commissioning on variable speed booster pump to the satisfaction of relevant authorities and submit test report , Technical assistance on site setting up &programming | LS | 1 | 29397.87 | 29397.87
Any other item not included above but required to complete the works satisfactory such as installation, operation manual of equipment, fire extinguisher, CPO resuscitation poster cabinet etc. | LS | 1 | 4899.65 | 4899.65
To supply from TNB, scope of work including application until obtain approval, laying of approved type cable from TNB meter to pumps electrical panel * deposit and contrubiution by owner | LS | 1 | 0 | 0
Ancillary Works
Connection of pipe to existing main pipe including 6" check valve | LS | 1 | 7839.43 | 7839.43
Primayer level indicator for suction tank (RM3,000) | Unit | 1 | 3000 | Rate only
To supply & install Water tank for 50,400 gallons (7m x 6m x 30) c/w accessories & connection from existing main pipe to tank. (RM150,000) | Set | 1 | 150000 | Rate only
Water Tank plinth | LS | 1 | 0 | 0
To supply and install Altitude control valve or equvalent due to suitable site | Set | 1 | 27438.02 | 27438.02
Aensor for Altitude control valve from chamber to water tank. | LS | 1 | 7839.43 | 7839.43
Wiring work for incoming supply to MSB | LS | 1 | 979.93 | 979.93
Other
M&E Consultant Fees (PBA Pump House) Checking and verifying the completed detailed drawings and calculations prior to endorsement by the designated Professional Engineers. | LS | 1 | 48996.46 | 48996.46
Miscellaneous (Opptional)
C&S Consultant Fees (PBA Pump House) Preparation of Structural & foundation design of proposed pump house, hoisting accessories. Including design of anti-climb perimeter fencing and perimeter drain. (RM15,000) | LS | 1 | 15000 | Rate only
Civil & Structure Section
Pump house c/w hoisting I-Beam, perimeter drain, Chamber, perimeter fencing and water tank plinth. (RM300,000.00) | LS | 1 | 300000 | Rate only
Painting works including Pump House & Piping (RM 15,000.00) | LS | 1 | 15000 | Rate only
Signage (RM6,000.00) | LS | 1 | 6000 | Rate only

## Drw List (hidden)
Project : | #REF!
#REF!
#REF!
#REF!
#REF!
Re : | #REF!
Subcon : | #REF!
Item | Description | Drwg No | Size
ARCHITECTECTURE (BUILDING PLAN - 2 & 3 STOREY)
1 | Pelan Kunci,Pelan Lokasi,Pelan Susunatur & Nota | RS1603/201 (1/6) | A0
2 | Pelan Lantai Tingkat Bawah,Atas Dan Keratan - Keratan Rumah Teras 3 Tingkat (Pelot 1,27,28,54 &83) Rumah Teres 2 Tingkat (Jenis Tipikal) | RS1603/202 (2A/6) | A1
3 | Pelan Bumbung,Pandangan-Pandangan Rumah Teras 3 Tingkat (Pelot 1,27,28,54 &83) Rumah Teres 2 Tingkat (Jenis Tipikal) | RS1603/203 (3A/6) | A1
4 | Pelan Lantai Tingkat Bawah,Atas Dan Bumbung Rumah Teras 3 Tingkat (Pelot 41,42,55,69&70) | RS1603/204 (4A/6) | A1
5 | Pelan-Pelan Lantai Tingkat & Bawah, Pandangan-Pandangan & Keratan Rumah Teras 3 Tingkat (Pelot 41,42,55,69&70) | RS1603/204 (5A/6) | A1
Confirmed and Agreed By,
________________________________________
Name:
#REF!